## Electrical Energy Conservation
Week | Theory
| Lecture day | Topic
1st | 1st | Unit-1 Lighting System:- Basic definitions- Lux, lumen and illumination space to height ratio
| 2nd | Types of different lamps and their features
| 3rd | Energy efficient practices in lighting
| 4th | Tips for energy saving in building - New Building, Existing Building
| 5th | Laws of Illumination
2nd | 6th | Calculation of illumination at different points, Main requirements for proper lighting
| 7th | Macro level approach at design stage
| 8th | Revision Unit - I
| 9th | Notebook Check and Doubts
| 10th | Assignment/Class Test
3rd | 11th | Unit-2 Energy Conservation and EC Act 2001:- Introduction to energy management, energy conservation, energy efficiency and its need
| 12th | Salient features of Energy Conservation Act 2001
| 13th | The Energy Conservation (Amendment) Act, 2010 and its importance
| 14th | Standards and Labeling - Concept of star rating and its importance,
| 15th | Types of product available for star rating
4th | 16th | Revision Unit - II
| 17th | Notebook Check and Doubts
| 18th | Assignment/Class Test
| 19th | Unit-3 Energy Audit:- Types and methodology
| 20th | Energy auditing reporting format
5th | 21st | Energy audit instruments
| 22nd | Revision Unit - III
| 23rd | Notebook Check and Doubts
| 24th | Assignment/Class Test
| 25th | Unit-4 Electrical Supply System and Motors: Types of electrical supply system
6th | 26th | Single line diagram
| 27th | Transformer loading
| 28th | Tips for energy savings in transformers
| 29th | Motor Loading
| 30th | Variation in efficiency and power factor with loading
7th | 31st | Tips for energy savings in motors
| 32nd | Need for energy efficient motors
| 33rd | Initial cost versus like cycle cost
| 34th | Cost analysis on life cycle basis
| 35th | Various constructional features of EEMs
8th | 36th | EEM as compared to standard motors
| 37th | Revision Unit - IV
| 38th | Notebook Check and Doubts
| 39th | Assignment/Class Test
| 40th | Unit-5 Energy Efficiency in Electrical Utilities:-Understanding Electricity Bill,Tariff structure
9th | 41st | Components of power (KW, KVA and KVAR) and power factor
| 42nd | Concept of sanctioned load, maximum demand,
| 43rd | contract demand and monthly minimum charges (MMC)
| 44th | Pumps:-Introduction to pump and its application. Efficient pumping system operation
| 45th | Energy efficiency in agriculture pumps
10th | 46th | Tips for energy saving in pumps
| 47th | Compressed Air System:-Types of air compressor and its applications
| 48th | Leakage test
| 49th | Energy saving opportunities in compressors
| 50th | Energy Conservation in HVAC and Refrigeration System:-Introduction
11th | 51st | Concept of Energy Efficiency Ratio (EER)
| 52nd | Energy saving opportunities in Heating,
| 53rd | Ventilation and Air-conditioning (HVAC)
| 54th | Refrigeration Systems
| 55th | Thermal Basics:-Types of fuels
12th | 56th | Thermal energy
| 57th | Energy contents in fuel
| 58th | Energy Units and its conversion in terms of metric tonne of oil equivalent (MTOE).
| 59th | Revision Unit - V
| 60th | Notebook Check and Doubts
13th | 61st | Assignment/Class Test
| 62nd | Unit -6 General Energy Saving Tips:- Lighting System
| 63rd | Room Air Conditioners
| 64th | Refrigerators
| 65th | Water Heater
14th | 66th | Computers
| 67th | Fans, Heaters,
| 68th | Blowers and Washing Machines
| 69th | Water Pumps
| 70th | Kitchens
15th | 71st | Transport
| 72nd | Revision Unit - VI
| 73rd | Notebook Check and Doubts
| 74th | Assignment/Class Test
| 75th | Unit-7 Energy Conservation Building Code:- Haryana ECBC
16th | 76th | and its salient features including thermal behavior of buildings
| 77th | ECBC Guidelines on Building Envelope
| 78th | ECBC Prescriptive Requirements for Building Envelope
| 79th | Revision
| 80th | ECBC Guidelines on Heating,
16th | 81st | Ventilation and Air Conditioning
| 82nd | ECBC Guidelines on Service Hot Water
| 83rd | Pumping
| 84th | ECBC Guidelines on Lighting
| 85th | ECBC Guidelines on Electrical Power
17th | 86th | ECBC Guidelines on Star Labelling
| 87th | Minimum Star rating
| 88th | Revision Unit - VII
| 89th | Notebook Check and Doubts
| 90th | Assignment/Class Test
18th | 91st | Questionarrie Unit - I & II
| 92nd | Questionarrie Unit - III & IV
| 93rd | Questionarrie Unit V, Vi & VII
| 94th | Previous Question Paper
| 95th | STUDENT ACTIVITIES ON ENERGY CONSERVATION/ENERGY
Name of Faculty : Maya
Discipline : Electrical Engg.
Semester : 6th
Subject : Electrical Energy Conservation and Management
Lesson Plan Duration: 18 Weeks (From: 15-02-2024 to 14-06-2024)